SECTION 105, CONTROL OF WORK, is amended as follows:

The first sentence of the last paragraph of Subsection 105.06 Cooperation by Contractor is hereby deleted and the following substituted therefore:

The Contractor shall furnish an agent who is a competent superintendent or supervisor who is on the project while work is being performed and accessible to the Engineer during all hours of each workday.  The agent shall be capable of reading and fully understanding the plans and specifications and thoroughly experienced in the type of work being performed.